## CONFINED SPACE HAZARD EVALUATION & QUALIFICATION FORM

| Section 1: Space Information |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Building #: |  | Room #: |  |  |  |  |  |  | Location of Entrance(s): |  |  |  |  |
| Evaluator(s): |  | Current Eval Date: |  |  |  |  |  |  | Location Owner(s): |  |  |  |  |
| Description of space (characteristics, configuration, number of entry points, etc.): |  |  |  |  |  |  |  |  |  |  | Insert photo of space & entrance(s) |  |  |
| Section 2: Space Hazard Assessment |  |  |  |  |  |  |  |  |  |  |  |  |
| Are there hazards to be mitigated to open the entrance(s)? Yes No |  |  |  | Conditions to open entrance(s) (describe): |  |  |  |  |  |  |  |  |
| Are there known or suspected atmospheric hazards? Yes No |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen deficiency (less than 19.5% oxygen) |  |  |  |  |  |  |  |  | Confirmed by monitoring? Yes No |  |  |  |
| Oxygen enrichment (greater than 23.5% oxygen) |  |  |  |  |  |  |  |  | Confirmed by monitoring? Yes No |  |  |  |
| Flammable gas, vapor, mist, combustible dust ≥10% LEL or ≥LFL |  |  |  |  |  |  |  |  | Substance(s): |  |  |  |
|  |  |  |  |  |  |  |  |  | Confirmed by monitoring? Yes No |  |  |  |
| Toxic gas, vapor, or mist in excess of its PEL, TLV, or other recommended guidelines |  |  |  |  |  |  |  |  | Substance(s): |  |  |  |
|  |  |  |  |  |  |  |  |  | Confirmed by monitoring? Yes No |  |  |  |
| Inert or oxygen displacement atmosphere; simple asphyxiant |  |  |  |  |  |  |  |  | Substance(s): |  |  |  |
|  |  |  |  |  |  |  |  |  | Confirmed by monitoring? Yes No |  |  |  |
| Any other atmospheric condition that is immediately dangerous to life or health? |  |  |  |  |  |  |  |  | Substance(s): |  |  |  |
|  |  |  |  |  |  |  |  |  | Confirmed by monitoring? Yes No |  |  |  |
| Are there known or suspected sources of uncontrolled energy? Yes No |  |  |  |  |  |  |  |  |  |  |  |  |
| Source Type |  | Describe Energy Source |  |  |  |  |  |  |  |  |  |  |
| Electrical |  |  |  |  |  |  |  |  |  |  |  |  |
| Thermal |  |  |  |  |  |  |  |  |  |  |  |  |
| Chemical |  |  |  |  |  |  |  |  |  |  |  |  |
| Mechanical |  |  |  |  |  |  |  |  |  |  |  |  |
| Pneumatic |  |  |  |  |  |  |  |  |  |  |  |  |
| Hydraulic |  |  |  |  |  |  |  |  |  |  |  |  |
| Gravity/Stored Energy |  |  |  |  |  |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |  |  |  |  |
| Are there known or suspected engulfment hazards? Yes No |  |  |  |  |  |  |  |  |  |  |  |  |
| Describe potential engulfment hazards: |  |  |  |  |  |  |  |  |  |  |  |  |
| Are there known or suspected entrapment or configuration hazards? Yes No |  |  |  |  |  |  |  |  |  |  |  |  |
| Configuration Hazard |  |  |  |  | Describe Configuration Hazard |  |  |  |  |  |  |  |
| Inwardly converging walls |  |  |  |  |  |  |  |  |  |  |  |  |
| Downward sloping/tapering floor |  |  |  |  |  |  |  |  |  |  |  |  |
| Drop offs |  |  |  |  |  |  |  |  |  |  |  |  |
| Low overhead clearance |  |  |  |  |  |  |  |  |  |  |  |  |
| Complex layout |  |  |  |  |  |  |  |  |  |  |  |  |
| Unstable / structural integrity |  |  |  |  |  |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |  |  |  |  |
| Are there known or suspected external hazards? Yes No |  |  |  |  |  |  |  |  |  |  |  |  |
| External Hazard |  |  |  |  |  | Describe External Hazard |  |  |  |  |  |  |
| Traffic |  |  |  |  |  |  |  |  |  |  |  |  |
| Machine, equipment, process |  |  |  |  |  |  |  |  |  |  |  |  |
| Terrain |  |  |  |  |  |  |  |  |  |  |  |  |
| External connections |  |  |  |  |  |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |  |  |  |  |
| Are there known or suspected additional hazards? Yes No |  |  |  |  |  |  |  |  |  |  |  |  |
| Additional Hazard |  |  | Describe Additional Hazard |  |  |  |  |  |  |  |  |  |
| Slip, trip, fall |  |  |  |  |  |  |  |  |  |  |  |  |
| Noise |  |  |  |  |  |  |  |  |  |  |  |  |
| Thermal (high/low temps) |  |  |  |  |  |  |  |  |  |  |  |  |
| Vibration |  |  |  |  |  |  |  |  |  |  |  |  |
| Ionizing radiation |  |  |  |  |  |  |  |  |  |  |  |  |
| Non-ionizing radiation |  |  |  |  |  |  |  |  |  |  |  |  |
| Flora/fauna, environmental |  |  |  |  |  |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |  |  |  |  |
| Section 3: Space Determination |  |  |  |  |  |  |  |  |  |  |  |  |
| Meets confined space criteria? Yes No |  |  |  |  |  |  | 1. Bodily entry possible? |  |  |  | Yes | No |
|  |  |  |  |  |  |  | 2. Limited or restricted entry and exit? |  |  |  | Yes | No |
|  |  |  |  |  |  |  | 3. Not designed for continuous human occupancy? |  |  |  | Yes | No |
| Meets permit required criteria? Yes No |  |  |  |  |  |  | 1. Atmospheric hazard(s)? |  |  |  | Yes | No |
|  |  |  |  |  |  |  | 2. Potential for engulfment? |  |  |  | Yes | No |
|  |  |  |  |  |  |  | 3. Internal configuration hazard? |  |  |  | Yes | No |
|  |  |  |  |  |  |  | 4. Other serious safety hazard? |  |  |  | Yes | No |
| Meets alternative entry* criteria? Yes No *alternative entry / reclassification |  |  |  |  |  |  | 1. Atmospheric hazard(s) is only hazard? |  |  |  | Yes | No |
|  |  |  |  |  |  |  | 2. Atmospheric hazard can be maintained in safe condition with ventilation only? |  |  |  | Yes | No |
|  |  |  |  |  |  |  | 3. All other hazards can be mitigated? |  |  |  | Yes | No |

| Effective​ Date​ | Version #​ | Authors​ | Description​ |
| --- | --- | --- | --- |
| 7/30/2026​ | 001 | Incorporated by Brian Freidhof | New document submitted by Maggie Murphy. |